## OOS-2025
Sr. No. | OOS No. | Batch No. | Details of OOS | CAPA | Status | Batch No. | MFR No.
01 | OOS/25/01 | N25B05 | During the analysis of assay of Cromolyn Sodium in the product, Cromyl Eye Drops (Batch No.:- N25B05), assay of Cromolyn Sodium found as 204.92% against the specification limit of 90.0% to 110%. | The investigation confirmed that the Out of Specification (OOS) result was caused by an analyst oversight during the sample dilution process. To rectify this, the analyst re-prepared the sample using the correct procedure, specifically utilizing a 200 mL volumetric flask as required by the specification. Re-testing in duplicate from this fresh preparation yielded results within the specified limits, allowing the OOS to be officially closed. To prevent recurrence, the analyst received targeted training on Good Laboratory Practice (GLP), focusing on the proper selection of appropriate glassware. This training was designed to increase the analyst's awareness and consciousness during standard and sample preparations in the future. | Closed | N25B05 | MFR/U/DCR066.07
02 | OOS/25/02 | 5C11 | During the processing and calculation of Assay test at the finished product analysis stage on date 08.04.2025 in the Product, IO-Panthe (Batch No.:- 5C11), the analyst Mr. Ramesh Hadiyal (Designation:- Senior Officer-QC) have observed test result as Out of Specification. The assay of active material, D-Panthenol, is observed as 73.62% against specification limit as 90.0% to 110.0%. | The root cause of the 73.62% assay OOS was identified as a human and measurement error where the analyst failed to properly "tare" the weighing balance, leading to an inaccurately high standard area response. As an immediate Corrective Action, a re-analysis was performed in duplicate by the same analyst after rectifying the weighing technique, which yielded passing results of 105.32% and 105.79%. To ensure Preventive Action, the targeted training conducted for all Quality Control analysts on SOP No. QAIO36, "Operation and Cleaning of Electronic Weighing Balance". This training specifically emphasized the importance of verifying a zero display and performing the tare activity before weighing to increase analyst consciousness and prevent future recurrences. | Closed | 5C11 | MFR/H/ODP067.05
03 | OOS/25/03 | N25B27 | During the processing and calculation of Assay test at the stability testing stage (9th month) on date 24.12.2025 in the Product, CU-Itra Eye/Ear Drops (Batch No.:- N25B27), the analyst Mr. Prakash Kanzariya (Designation:- Officer-QC) have observed test result as Out of Specification. The assay of active material, Itraconazole, is observed as 50.51% against specification limit as 90.0% to 110.0%. | The Corrective and Preventive Action (CAPA) plan was initiated following an Out of Specification (OOS) result caused by an analyst's failure to properly homogenize a suspension which was rectified through re-testing using correct procedures that yielded results within specifications. To address this, the laboratory implemented targeted re-training on the specific Method of Analysis (MOA) and held Good Laboratory Practice (GLP) refreshers focused on sampling accuracy. Additionally, the team shared broad awareness regarding the unique handling requirements of suspension dosage forms to ensure heightened consciousness during future preparations. These measures aim to prevent recurrence by strengthening technical competence and overall laboratory compliance. | Closed | N25B27 | MFR/H/DIT/186.04